FusWorth

5020-pro

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | 2-Door Two-Way Control Board |
| Dimensions | 160*129mm |
| Communication | TCP/IP |
| Record Capacity | 50000 |
| Card Capacity | 30000 |
| Password Capacity | 2 super passwords |
| Source Specification | Personal password count corresponds to card count |
| Controlled Doors | 2 |
| External Card Readers | Supports 4 external readers |
| External Switches | 2 |
| Supported Reader Protocol | WG26/34 |
| Software | B/S Management Platform |
| SupportedDatabase | SQL |