FusWorth

AC15-E

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | Anti-Copy Metal Card Reader |
| Dimensions | 88*88*18mm |
| Source Specification | Standard Complies with ISO/IEC 14443 Type A |
| Source Specification | Operating Voltage 9-12VDC |
| Source Specification | Operating Current 70mA |
| Source Specification | Supported Card MIFARE One IC card |
| Source Specification | Operating Frequency IC (13.56MHz) |
| Operating Environment Operating Temperature | -10~50℃ Operating Humidity: <90% |
| Source Specification | Transmission Distance 80m max. |
| Source Specification | Reading Distance IC 3-5cm depending on card |
| Source Specification | Output Mode WG26/34or custom protocol |