FusWorth

DF-40

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | 4-Door Two-Way Control Board |
| Dimensions | 216x 129mm |
| Communication | TCP/IP |
| Record Capacity | 50000 |
| Card Capacity | 30000 |
| Password Capacity | 2 super passwords; |
| Source Specification | Personal password count corresponds to card count |
| Controlled Doors | 4 |
| External Card Readers | Supports 8 external readers |
| External Switches | 4 |
| Supported Reader Protocol | WG26/34 |
| Software | V6.0 |
| SupportedDatabase | Access, SQL |