FusWorth

ER10

Product Specifications

| Specification | Details |
| --- | --- |
| Main Unit Dimensions (L*W*H) | 88*88*18.5mm |
| Back Cover Dimensions (L*W*H) | 86*86*2mm |
| Material | Zinc alloy housing with acrylic panel |
| Reader Interface | WG26/34 |
| Decoding Support | QR code |
| Operating Voltage | Supports 10–15 V input |
| Operating Current | 220mA |
| Image Sensor | 0.3 MP CMOS sensor (640*480 pixels) (640*480pixels) |
| Scan Angle | Tilt+-55°, Rotation360° |
| Reading Distance | from window surface5-20cm |
| Scanning Features | Auto sensing with buzzer indication |
| Light Source | Built-in LED light source; resistant to strong ambient light |
| Decoding Mode | Image decoding |
| Operating Environment | Temperature Range-25℃-55℃, Relative Humidity5%-95% (non-condensing) |
| Card Reading | Built-in IC card reader |
| Reading Distance | from window3-5cm |
| Card Type | Contactless IC card |