FusWorth

H-16

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | Operating Voltage 12V~24Vwide-voltage design |
| Source Specification | Operating Current 500mA |
| Source Specification | Supported Readers 2 |
| Reader Protocol Network mode | standard Wiegand 26/34; offline mode: dedicated protocol reader |
| Source Specification | Communication TCP/IP networking or offline card encoding |
| User Capacity Networked | 10,000 (expandable); offline: unlimited |
| Record Capacity Networked | 50,000 (expandable); offline: no record storage |
| Source Specification | Fire Alarm Linkage Interface 1 |
| Source Specification | Manual Control Interface 1 |
| Source Specification | Temperature & Humidity -10℃~60℃ (10~90%RHnon-condensing) |
| Source Specification | Secondary Development Supported (HTTP protocol) |
| Source Specification | Managed Floors Main board directly controls up to 16 floors |
| Source Specification | Expansion Board 16 floors each; up to 3 expansion boards can be added for direct control of 64 floors |
| Source Specification | Dimensions 180mm*120mm*15mm |