FusWorth

JF-52H

Product Specifications

| Specification | Details |
| --- | --- |
| Operating System | Linux |
| Liveness Detection | Dual-camera liveness detection |
| Camera | : RGB+IR 2 MP |
| Display | 5-inch HD display |
| Touchscreen | Capacitive touchscreen |
| Supported Languages | Chinese, English, Persian, Russian,Italian,Indonesian,Spanish,Vietnamese, Portuguese, Arabic, Thai,etc |
| Power Supply | DC12V/2A |
| Operating Temperature & Humidity | -30℃~60℃; 10~90%RH |
| External Interfaces | Wiegand Output (26/34), Relay Output, Ethernet Port, Exit Button, Doorbell |
| Face Capacity | 2000 |
| Card Capacity | 2000 |
| Password Capacity | 2000 |
| Palm Vein Capacity | 500 |
| Record Capacity | 100,000 |
| Recognition Speed | <0.5s |
| Verification Methods | Face/Card/Password/Palm Vein/QR Code |
| Card Reading | Standard IC card reader |
| Communication | USB Flash Drive/TCP/IP (Optional WiFi/4G) |
| Dimensions | 192mm*86mm*22mm |
| Protection Rating | IP65 Waterproof and Dustproof |
| Housing Material | Flame-retardant ABS plastic |