FusWorth

L60-EF

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | Anti-copy |
| Input Voltage | DC12V (+-10%) |
| Card Type | M1 card |
| Reading Distance | 3-5CM (depending on card) |
| Controlled Doors | 1 |
| Dimensions | 68.8*45.9mm |
| Software Version | Building Access Control Management Software3.0 |
| Card Capacity | Unlimited |
| Anti-copyFunction | Optional |
| Data Capacity | None |
| Registration Method | Offline Card Encoding |