FusWorth

NB-JX09

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | Enclosure Power Supply with UPS |
| Dimensions | 317mm*259mm*78mm |
| Color | Black |
| Power | 30W-60W |
| Output Voltage | 12VDC (11-14Vadjustable) |
| Rated Current | 3.5A |
| Built-in Battery | 7AH, 12VDC |
| Battery Depletion Protection Voltage | 9V |