FusWorth
NB-JX09
Product Specifications
	Specification
	Details

	Source Specification
	Enclosure Power Supply with UPS

	Dimensions
	317mm*259mm*78mm

	Color
	Black

	Power
	30W-60W

	Output Voltage
	12VDC (11-14Vadjustable)

	Rated Current
	3.5A

	Built-in Battery
	7AH, 12VDC

	Battery Depletion Protection Voltage
	9V






