FusWorth

S20-KC

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | IC master card / keypad authorization, waterproof |
| Input Voltage | DC12V (+-10%) |
| Card Type | M1 cardIC |
| Reading Distance | 5-8CM (depending on card) |
| Controlled Doors | 1 |
| Dimensions | 107*74*19mm |
| Authorization Method | Master card, keypad |
| Card Capacity | Master card: 10,000, keypad: 1,000 |
| Source Specification | Supports WG26/WG34 input for external readers |