FusWorth

S25-D

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | ID master card, waterproof |
| Dimensions | 88*88*18mm Input Voltage: DC12V (+-10%) Operating Current: Standby Current≤100mA, Active Current≤200mA |
| Card Type | EM cardID |
| Reading Distance | 5-8CM (depending on card) |
| Controlled Doors | 1 |
| Authorization Method | Master card |
| Card Capacity | Master card: 10,000 Supports WG26/WG34 input for external readers |