FusWorth

S25-KD

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | ID master card / keypad authorization, waterproof |
| Dimensions | 88*88*18mm |
| Input Voltage | DC12V (+-10%) |
| Operating Current | Standby Current≤100mA, Active Current≤200mA |
| Card Type | EM cardID |
| Reading Distance | 5-8CM (depending on card) |
| Controlled Doors | 1 |
| Authorization Method | Master card, keypad |
| Card Capacity | Master card: 10,000, keypad: 1,000 |
| Source Specification | Supports WG26/WG34 input for external readers |