FusWorth

S25-KEF

Product Specifications

| Specification | Details |
| --- | --- |
| Source Specification | Offline card encoding, anti-copy, waterproof, with keypad |
| Dimensions | 86*86*18mm |
| Operating Voltage | 12VDC; Standby Current≤100mA, Active Current≤200mA |
| Authorization Method | Offline Card Encoding |
| Card Type | M1 cardIC |
| Recognition Distance | 3-8cm (depending on card) |
| Protection Rating | IP65 (Waterproof and Dustproof) |
| Operating Conditions | Temperature: -10℃-45℃;Relative Humidity: 20%-90% |